Pregnancy Tests	OB-GYN 101 Facts Card ©2003 Brookside Press

The diagnosis of pregnancy is accurately made with a urine pregnancy test. Current test kits are highly specific and detect 35-30 mIU of HCG (human chorionic gonadotropin, the pregnancy hormone) per ml of urine. The pregnancy test will be turning positive at about the time of the first missed menstrual period.

First morning urine is preferred because it is more concentrated.

Place the manufacturer-specified number of drops of urine in the collecting area. Wait the  time specified.

In the event of an "equivocal" pregnancy test...one that is not really positive nor negative, additional urine can be put through the test kit to boost the sensitivity. Instead of using 3 drops of urine, you can use up to 6 drops of urine. This will virtually double the sensitivity of the test, while increasing the chance of a false positive by only a small amount.

In an urgent situation, if a patient is unable to provide urine for the test, serum can be used in the urine test kit in place of urine.

- Draw blood into a test tube.

- Tape the test tube to the wall for about 10 minutes (allow it to clot).

- Using an eye dropper or a syringe with a needle, draw off a small amount of serum (the clear, watery part of the blood that's left at the top of the test tube after the blood has clotted).

- Use the serum instead of urine in the urine pregnancy test kit, drop for drop. If the test kit calls for 4 drops of urine, use 4 drops of serum.

This is an imperfect solution, because the forms of HCG (pregnancy hormone) found in serum are somewhat different from the forms found in urine. Further, the serum proteins tend to sludge up the test kit, both mechanically and biochemically. That said, using serum instead of urine will work well enough for most purposes and can provide immediate insight into the patient's problem.